## BHLWC ID #1 Monitoring Data
Altogether Operations Pty Ltd Level 1, 73 Miller Street, North Sydney NSW 2060 PO Box 1831, North Sydney NSW 2059 Phone: 1300 803 803 Website:https://altogethergroup.com.au/contact-us/
| Environmental Protection License Number | 20843
| Licensee Name | ALTOGETHER OPERATIONS PTY LTD
| Premises Address | BOX HILL WASTEWATER AND WATER RECYCLING SCHEME BOX HILL NSW 2765 RED GABLES ROAD
| EPA Public Register | https://www.epa.nsw.gov.au/licensing-and-regulation/public-registers
| EPA Identification No. | 1
| Location Description | Recycled water quality monitoring at Local Water Centre located in the recycled water pump shed prior to discharge to irrigation areas (Precinct C at Lot 203 DP 1256554 and Precinct F at Lot 29 DP 255616)
|  | Pollutant | Biochemical Oxygen Demand | Escherichia coli | Nitrogen (Total) | pH | Phosphorous (Total) | Total Dissolved Solids | Total Suspended Solids | Turbidity
|  | Unit of Measure | milligrams per litre | colony forming units per 100 millilitres | milligrams per litre | pH units | milligrams per litre | milligrams per litre | milligrams per litre | Nephelometric turbidity units
|  | Sample Frequency | Weekly | Weekly | Weekly | Weekly | Weekly | Weekly | Weekly | Weekly
|  | Reporting Period | 12 Months | 12 Months | 12 Months | 12 Months | 12 Months | 12 Months | 12 Months | 12 Months
| Limits Apply Annually | 50 Percentile Concentration Limit | None | None | None | None | None | None | None | None
|  | 80 Percentile Concentration Limit | 15 | 1 | 15 | 6.5-8.5 | 5 | 700 | 15 | 5
|  | 3 Day Geometric Mean | None | None | None | None | None | None | None | None
|  | 100 Percentile Concentration Limit | None | None | None | None | None | None | None | None
Reporting Year | Date Sample | Date Obtained | Biochemical Oxygen Demand | Escherichia coli | Nitrogen (Total) | pH | Phosphorous (Total) | Total Dissolved Solids | Total Suspended Solids | Turbidity
2022-2023 | 2022-07-07 | 2022-07-20 | <5 | <1 | 7.2 | 8 | 0.28 | 520 | <5 | <1
| 2022-07-11 | 2022-07-22 | <5 | <1 | 9.5 | 7.6 | 2.4 | 550 | <5 | <1
| 2022-07-18 | 2022-07-25 | <5 | <1 | 10.9 | 7.8 | 2.4 | 430 | <5 | <1
| 2022-07-25 | 2022-08-01 | <5 | <1 | 14.8 | 7.8 | 0.04 | 490 | <5 | <1
| 2022-08-01 | 2022-08-18 | <5 | <1 | 8.6 | 7.9 | 2.6 | 460 | <5 | <1
| 2022-08-08 | 2022-08-15 | <5 | <1 | 12.3 | 7.9 | 1.1 | 460 | <5 | <1
| 2022-08-15 | 2022-08-22 | <5 | <1 | 13.1 | 7.5 | 3.1 | 380 | <5 | <1
| 2022-08-22 | 2022-08-30 | <5 | <1 | 7.3 | 7.7 | 3.1 | 430 | <5 | <1
| 2022-09-01 | 2022-09-12 | 9.9 | <1 | 7.1 | 8 | 2.1 | 460 | <5 | <1
| 2022-09-05 | 2022-09-12 | <5 | <1 | 1.6 | 7.8 | 1.9 | 360 | <5 | <1
| 2022-09-12 | 2022-09-19 | 20 | <1 | 5.9 | 7.9 | 1.7 | 430 | <5 | <1
| 2022-09-19 | 2022-09-26 | <5 | <1 | 4.5 | 7.8 | 0.97 | 390 | <5 | <1
| 2022-09-26 | 2022-10-10 | <5 | <1 | 4.8 | 7.8 | 1.4 | 470 | <5 | <1
| 2022-10-04 | 2022-10-11 | <5 | <1 | 3.9 | 7.8 | 1.2 | 400 | <5 | <1
| 2022-10-10 | 2022-10-24 | <5 | <1 | 6.2 | 7.8 | 0.94 | 440 | <5 | <1
| 2022-10-17 | 2022-10-25 | <5 | <1 | 14.5 | 7.9 | 1.4 | 480 | <5 | <1
| 2022-10-24 | 2022-11-01 | <5 | <1 | 10.2 | 7.9 | 0.82 | 560 | <5 | <1
| 2022-11-01 | 2022-11-10 | <2 | <1 | 7 | 7.79 | 1.43 | 510 | <5 | 0.5
| 2022-11-09 | 2022-11-19 | <2 | <1 | 8.4 | 7.79 | 1.77 | 528 | <5 | 0.5
| 2022-11-14 | 2022-11-21 | <2 | <1 | 6.9 | 7.54 | 1.72 | 446 | <5 | <0.1
| 2022-11-21 | 2022-11-28 | <2 | <1 | 8.2 | 7.62 | 2.13 | 486 | <5 | 0.2
| 2022-11-28 | 2022-12-05 | <2 | <1 | 8.9 | 7.54 | 2.58 | 476 | <5 | 0.2
| 2022-12-05 | 2022-12-22 | <2 | <1 | 3.9 | 7.55 | 1.55 | 282 | <5 | 0.2
| 2022-12-12 | 2022-12-20 | <2 | <1 | 7.6 | 7.69 | 2.1 | 454 | 5 | 0.2
| 2022-12-19 | 2023-01-03 | <2 | <1 | 7 | 7.78 | 2.12 | 426 | <5 | <0.1
| 2022-12-28 | 2023-01-11 | <2 | <1 | 7.6 | 7.72 | 1.1 | 474 | <5 | <0.1
| 2023-01-03 | 2023-01-11 | <2 | <1 | 7 | 7.8 | 0.78 | 484 | <5 | <0.1
| 2023-01-09 | 2023-01-19 | <2 | <1 | 6.6 | 7.53 | 0.91 | 474 | <5 | <0.1
| 2023-01-16 | 2023-01-25 | 6 | <1 | 8.5 | 7.44 | 1.68 | 503 | <5 | <0.1
| 2023-01-23 | 2023-01-31 | <2 | <1 | 6.8 | 7.58 | 1.92 | 504 | <5 | <0.1
| 2023-01-30 | 2023-02-06 | <2 | <1 | 8.1 | 7.63 | 1.77 | 555 | <5 | <0.1
| 2023-02-06 | 2023-02-14 | <2 | <1 | 6.9 | 7.18 | 1.77 | 522 | <5 | <0.1
| 2023-02-13 | 2023-02-20 | <2 | <1 | 7.8 | 7.26 | 1.41 | 492 | <5 | 0.2
| 2023-02-20 | 2023-02-27 | <2 | <1 | 8 | 7.2 | 1.19 | 512 | <5 | 0.2
| 2023-02-27 | 2023-03-07 | <2 | <1 | 6.6 | 7.48 | 1.33 | 526 | <5 | 0.2
| 2023-03-06 | 2023-03-13 | <2 | <1 | 6.6 | 7.48 | 1.36 | 497 | 5 | 0.4
| 2023-03-13 | 2023-03-20 | 2 | <1 | 7.4 | 7.48 | 1.84 | 469 | <5 | <0.1
| 2023-03-20 | 2023-03-29 | <2 | <1 | 1.8 | 7.49 | 1.6 | 518 | <5 | 0.1
| 2023-03-27 | 2023-04-03 | 6 | <1 | 7.8 | 7.43 | 1.52 | 510 | <5 | 0.3
| 2023-04-03 | 2023-04-12 | <2 | <1 | 6.3 | 7.41 | 1.49 | 486 | <5 | 0.2
| 2023-04-10 | 2023-04-17 | 2 | <1 | 6.9 | 7.46 | 1.53 | 436 | <5 | <0.1
| 2023-04-17 | 2023-04-24 | <2 | <1 | 5.8 | 7.48 | 1.16 | 454 | <5 | 0.2
| 2023-04-24 | 2023-05-02 | <2 | <1 | 5.9 | 7.42 | 0.91 | 486 | <5 | <0.1
| 2023-05-01 | 2023-05-08 | <2 | <1 | 6.3 | 7.3 | 1.21 | 432 | 6 | 0.2
| 2023-05-08 | 2023-05-15 | 4 | <1 | 7 | 7.34 | 1.3 | 490 | <5 | <0.1
| 2023-05-15 | 2023-05-22 | <2 | <1 | 8.3 | 7.33 | 1.48 | 421 | <5 | <0.1
| 2023-05-22 | 2023-05-29 | <2 | <1 | 7.2 | 7.33 | 1.18 | 440 | 8 | <0.1
| 2023-05-29 | 2023-06-05 | 2 | <1 | 7 | 7.36 | 1.02 | 424 | <5 | <0.1
| 2023-06-05 | 2023-06-13 | <2 | <1 | 6.7 | 7.16 | 0.84 | 408 | <5 | 0.2
| 2023-06-14 | 2023-06-21 | <2 | <1 | 8.9 | 7.27 | 0.69 | 421 | <5 | <0.1
| 2023-06-21 | 2023-06-26 | <2 | <1 | 9.8 | 7.24 | 0.61 | 476 | <5 | <0.1
| 2023-06-26 | 2023-07-03 | <2 | <1 | 8.3 | 7.31 | 0.7 | 450 | <5 | 0.2
Comments: July 2022 - All data within license limits August 2022 - All data within license limits September 2022 - One sample exceeded BOD limit. Limit applies annually. This is not a license breach. October 2022 - All data within license limits November 2022 - All data within license limits December 2022 - All data within license limits January 2023 - All data within license limits February 2023 - All data within license limits March 2023 - All data within license limits April 2023 - All data within license limits May 2023 - All data within license limits June 2023 - All data within license limits Reporting Year 22-23 - Pollutant data within license limits
2023-2024 | 2023-07-03 | 2023-07-10 | <2 | <1 | 9 | 7.25 | 0.83 | 396 | <5 | 0.3
| 2023-07-10 | 2023-07-17 | <2 | <1 | 7.8 | 7.29 | 0.94 | 452 | <5 | 0.3
| 2023-07-17 | 2023-07-24 | 3 | <1 | 7.4 | 7.28 | 1.79 | 436 | <5 | 0.2
| 2023-07-24 | 2023-07-31 | 2 | <1 | 7.8 | 7.24 | 1.82 | 414 | <5 | 0.2
| 2023-07-31 | 2023-08-07 | <2 | <1 | 8.2 | 7.21 | 2.02 | 416 | <5 | 0.3
| 2023-08-07 | 2023-08-14 | <2 | <1 | 7.3 | 7.39 | 1.39 | 418 | <5 | 0.2
| 2023-08-15 | 2023-08-22 | <2 | <1 | 6.9 | 7.78 | 1.03 | 483 | <5 | <0.1
| 2023-08-21 | 2023-08-28 | <2 | <1 | 7.2 | 7.5 | 1.18 | 486 | <5 | 0.2
| 2023-08-28 | 2023-09-04 | 6 | <1 | 7.6 | 7.35 | 1.17 | 490 | <5 | 0.3
| 2023-09-04 | 2023-09-11 | 3 | <1 | 6.8 | 7.84 | 0.96 | 478 | <5 | 0.2
| 2023-09-11 | 2023-09-18 | <2 | <1 | 5.6 | 7.8 | 0.73 | 535 | <5 | 0.2
| 2023-09-18 | 2023-09-25 | 6 | <1 | 6.2 | 7.67 | 0.94 | 538 | <5 | 0.2
| 2023-09-25 | 2023-10-02 | <2 | <1 | 6.7 | 7.76 | 1.19 | 490 | <5 | 0.2
| 2023-10-02 | 2023-10-09 | <2 | <1 | 5.8 | 7.82 | 0.84 | 518 | <5 | 0.1
| 2023-10-09 | 2023-10-16 | <2 | <1 | 6.1 | 7.89 | 0.69 | 467 | <5 | 0.2
| 2023-10-16 | 2023-10-23 | <2 | <1 | 5.4 | 7.87 | 0.35 | 496 | <5 | 0.2
| 2023-10-23 | 2023-10-30 | <2 | <1 | 5.7 | 7.83 | 0.3 | 448 | <5 | 0.2
| 2023-10-30 | 2023-11-06 | <2 | <1 | 6.6 | 7.77 | 0.22 | 436 | <5 | 0.2
| 2023-11-06 | 2023-11-13 | <2 | <1 | 7.1 | 7.75 | 0.53 | 490 | <5 | 0.2
| 2023-11-13 | 2023-11-20 | <2 | <1 | 6.4 | 7.75 | 0.46 | 458 | <5 | 0.3
| 2023-11-22 | 2023-11-29 | <2 | <1 | 5.8 | 7.76 | 0.4 | 490 | <5 | 0.4
| 2023-11-29 | 2023-12-06 | <2 | <1 | 7.2 | 7.68 | 0.35 | 492 | <5 | 0.2
| 2023-12-04 | 2023-12-14 | 12 | <1 | 7.4 | 7.62 | 0.55 | 470 | <5 | 0.4
| 2023-12-11 | 2023-12-18 | <2 | <1 | 7.7 | 7.73 | 0.42 | 460 | <5 | 0.2
| 2023-12-20 | 2023-12-29 | 6 | <1 | 7.4 | 7.76 | 0.21 | 431 | <5 | 0.2
| 2023-12-27 | 2024-01-03 | 3 | <1 | 6.6 | 7.82 | 0.23 | 476 | <5 | 0.2
| 2024-01-02 | 2024-01-09 | <2 | <1 | 6.2 | 7.82 | 0.16 | 416 | <5 | 0.2
| 2024-01-10 | 2024-01-17 | 2 | <1 | 5.5 | 7.88 | 0.2 | 407 | <5 | 0.2
| 2024-01-15 | 2024-01-22 | <2 | <1 | 6.2 | 7.87 | 0.18 | 484 | <5 | 0.3
| 2024-01-22 | 2024-01-29 | <2 | <1 | 6 | 7.94 | 0.7 | 652 | <5 | 0.2
| 2024-01-29 | 2024-02-05 | 2 | <1 | 6.6 | 7.9 | 0.33 | 630 | <5 | 0.2
| 2024-02-05 | 2024-02-12 | <2 | <1 | 6.1 | 7.87 | 0.71 | 460 | <5 | 0.3
| 2024-02-12 | 2024-02-19 | 5 | <1 | 7.2 | 7.89 | 0.44 | 510 | <5 | 0.3
| 2024-02-21 | 2024-02-28 | <2 | <1 | 6.8 | 7.87 | 0.37 | 473 | <5 | 0.5
| 2024-02-26 | 2024-03-04 | <2 | <1 | 6.9 | 7.91 | 0.47 | 502 | <5 | 0.1
| 2024-03-04 | 2024-03-11 | <2 | <1 | 6.8 | 7.91 | 0.35 | 494 | <5 | 0.1
| 2024-03-11 | 2024-03-18 | <2 | <1 | 6.7 | 7.7 | 0.23 | 466 | <5 | 0.2
| 2024-03-18 | 2024-03-25 | 6 | <1 | 7.4 | 7.85 | 0.19 | 476 | <5 | 0.5
| 2024-03-25 | 2024-04-03 | 4 | <1 | 7.6 | 6.83 | 0.91 | 436 | <5 | 0.2
| 2024-04-03 | 2024-04-10 | 2 | <1 | 7.5 | 7.56 | 0.32 | 466 | <5 | 0.1
| 2024-04-08 | 2024-04-15 | 2 | <1 | 7.9 | 7.46 | 0.54 | 586 | <5 | 0.2
| 2024-04-15 | 2024-04-22 | <2 | <1 | 8.3 | 7 | 0.25 | 538 | <5 | 0.4
| 2024-04-24 | 2024-05-02 | <2 | <1 | 7.2 | 7.78 | 0.17 | 552 | <5 | 0.2
| 2024-04-29 | 2024-05-06 | <2 | <1 | 7.4 | 7.6 | 0.16 | 452 | <5 | 0.4
| 2024-05-06 | 2024-05-13 | <2 | <1 | 9.5 | 7.7 | 0.12 | 530 | <5 | 0.2
| 2024-05-13 | 2024-05-20 | 2 | <1 | 7.9 | 7.67 | 0.08 | 526 | <5 | 0.4
| 2024-05-20 | 2024-05-27 | <2 | <1 | 7.7 | 7.57 | 0.1 | 488 | <5 | 0.3
| 2024-05-27 | 2024-06-03 | <2 | <1 | 7.9 | 7.8 | 0.1 | 510 | <5 | 0.3
| 2024-06-03 | 2024-06-11 | 4 | <1 | 7.5 | 7.54 | 0.11 | 526 | <5 | 0.4
| 2024-06-11 | 2024-06-18 | 6 | <1 | 8.6 | 7.8 | 0.1 | 624 | <5 | 0.3
| 2024-06-17 | 2024-06-24 | <2 | <1 | 9.5 | 7.82 | 0.1 | 508 | <5 | 0.5
| 2024-06-24 | 2024-07-01 | <2 | <1 | 10 | 7.62 | 0.18 | 458 | <5 | 0.6
Comments: July 2023 - All data within license limits August 2023 - All data within license limits September 2023 - All data within license limits October 2023 - All data within license limits November 2023 - All data within license limits December 2023 - All data within license limits January 2024 - All data within license limits February 2024 - All data within license limits March 2024 - All data within license limits April 2024 - All data within license limits May 2024 - All data within license limits June 2024 - All data within license limits Reporting Year 23-24 - Pollutant data within license limits
2024-2025 | 2024-07-01 | 2024-07-08 | <2 | <1 | 9 | 7.74 | 0.6 | 503 | <5 | 0.2
| 2024-07-08 | 2024-07-15 | 4 | <1 | 8.9 | 7.9 | 1.74 | 544 | <5 | 0.3
| 2024-07-15 | 2024-07-22 | 3 | <1 | 9 | 8.02 | 1.04 | 490 | <5 | 0.3
| 2024-07-23 | 2024-07-30 | 5 | <1 | 6.2 | 8.05 | 0.94 | 404 | <5 | 0.4
| 2024-07-29 | 2024-08-05 | <2 | <1 | 7.2 | 7.47 | 0.9 | 444 | <5 | 0.3
| 2024-08-05 | 2024-08-12 | 4 | <1 | 7.6 | 7.51 | 0.95 | 451 | <5 | 0.2
| 2024-08-12 | 2024-08-19 | 4 | <1 | 7.4 | 7.34 | 1.08 | 444 | <5 | 0.2
| 2024-08-19 | 2024-08-26 | 3 | <1 | 5.5 | 7.5 | 0.39 | 445 | <5 | 0.4
| 2024-08-26 | 2024-09-02 | 7 | <1 | 5.2 | 7.54 | 0.14 | 451 | <5 | 0.2
| 2024-09-02 | 2024-09-09 | <2 | <1 | 5 | 7.61 | 0.31 | 449 | <5 | 0.2
| 2024-09-09 | 2024-09-16 | 4 | <1 | 3.9 | 7.53 | 0.18 | 426 | <5 | 0.1
| 2024-09-16 | 2024-09-23 | <2 | <1 | 5.9 | 7.89 | 0.17 | 512 | <5 | 0.3
| 2024-09-25 | 2024-10-02 | <2 | <1 | 6.2 | 7.77 | 0.1 | 456 | <5 | 0.2
| 2024-09-30 | 2024-10-08 | 11 | <1 | 6.8 | 7.88 | 0.21 | 463 | <5 | 0.1
| 2024-10-08 | 2024-10-15 | 7 | <1 | 6.5 | 7.7 | 0.44 | 541 | <5 | 0.3
| 2024-10-14 | 2024-10-21 | 3 | <1 | 5.6 | 7.58 | 0.21 | 470 | <5 | 0.4
| 21/10/2024 | 28/10/2024 | 2 | <1 | 9 | 7.75 | 2.31 | 466 | <5 | 0.2
| 28/10/2024 | 2024-04-11 | 2 | <1 | 8 | 7.79 | 4.82 | 503 | <5 | 0.1
| 2024-11-06 | 2024-11-13 | 3 | <1 | 7.7 | 7.83 | 3 | 549 | <5 | 0.4
| 2024-11-11 | 18/11/2024 | <2 | <1 | 8.2 | 7.93 | 2.8 | 546 | <5 | 0.2
| 18/11/2024 | 25/11/2024 | <2 | <1 | 8.5 | 7.84 | 3.06 | 548 | <5 | 0.2
| 25/11/2024 | 2024-02-12 | <2 | <1 | 8.3 | 7.88 | 2.5 | 474 | <5 | 0.1
Comments: July 2024 - All data within license limits August 2024 - All data within license limits September 2024 - All data within license limits October 2024 - All data within license limits November 2024 - All data within license limits

## BHLWC Soil Monitoring Data
Altogether Operations Pty Ltd Level 1, 73 Miller Street, North Sydney NSW 2060 PO Box 1831, North Sydney NSW 2059 Phone: 1300 803 803 Website:https://altogethergroup.com.au/contact-us/
| Environmental Protection License Number | 20843
| Licensee Name | ALTOGETHER OPERATIONS PTY LTD
| Premises Address | BOX HILL WASTEWATER AND WATER RECYCLING SCHEME BOX HILL NSW 2765 RED GABLES ROAD
| EPA Public Register | https://www.epa.nsw.gov.au/licensing-and-regulation/public-registers
| EPA Identification No. | 2, 3, 4, 5, 20, 21
| Location Description | Soil quality monitoring. Irrigation area, Various
|  |  | Pollutant | Boron | Cadmium | Electrical Conductivity | Nitrogen (Total) | pH | Phosphorous (Total) | Sodium Adsorption Ratio
|  |  | Unit of Measure | mg/kg | mg/kg | µS/cm | mg/kg | pH units | mg/kg | -
|  |  | Sample Frequency | Yearly | Yearly | Yearly | Yearly | Yearly | Yearly | Yearly
|  |  | Reporting Period | 12 Months | 12 Months | 12 Months | 12 Months | 12 Months | 12 Months | 12 Months
|  | Limits Apply Annually | 50 Percentile Concentration Limit | None | None | None | None | None | None | None
|  |  | 80 Percentile Concentration Limit | None | None | None | None | None | None | None
|  |  | 3 Day Geometric Mean | None | None | None | None | None | None | None
|  |  | 100 Percentile Concentration Limit | None | None | None | None | None | None | None
Reporting Year | Date Sample | Date Obtained | EPA Identification No. | Boron | Cadmium | Electrical Conductivity | Nitrogen (Total) | pH | Phosphorous (Total) | Sodium Adsorption Ratio
2022-2023 | 2022-10-04 | 2022-10-11 | 20 | <20 | <0.4 | 21 | 740 | 6.5 | 650 | <1
| 2022-10-04 | 2022-10-11 | 21 | <10 | <0.4 | 11 | 880 | 7.5 | 670 | <1
| 2022-10-26 | 2022-11-04 | 2 | <10 | <0.4 | 450 | 360 | 8.2 | 290 | 2.2
| 2022-10-26 | 2022-11-04 | 2 | <10 | <0.4 | 370 | 640 | 7.7 | 250 | 1.7
| 2022-10-26 | 2022-11-04 | 3 | <10 | <0.4 | 400 | 660 | 7.7 | 270 | 1.7
| 2022-10-26 | 2022-11-04 | 3 | <10 | <0.4 | 660 | 460 | 6.8 | 230 | 1.9
| 2022-10-26 | 2022-11-04 | 4 | <10 | <0.4 | 760 | 3400 | 7.5 | 490 | <1
| 2022-10-26 | 2022-11-04 | 4 | <10 | <0.4 | 440 | 1700 | 7.6 | 350 | <1
| 2022-10-26 | 2022-11-04 | 5 | <10 | <0.4 | 210 | 3100 | 6.9 | 370 | 1.3
| 2022-10-26 | 2022-11-04 | 5 | <10 | <0.4 | 67 | 2900 | 7.3 | 420 | <1
Comments: Nil
2023-2024 | 2023-10-10 | 2023-10-27 | 21 | <5 | <0.1 | 47 | 550 | 5.5 | 203 | 15.2
| 2023-10-10 | 2023-10-27 | 20 | <5 | <0.1 | 52 | 240 | 6.5 | 150 | 3.87
| 2023-10-10 | 2023-10-27 | 3 | <5 | <0.1 | 220 | 500 | 6.3 | 461 | 5.1
| 2023-10-10 | 2023-10-27 | 2 | <5 | <0.1 | 371 | 730 | 7 | 483 | 29.8
Comments: Nil
2024-2025 | 2024-10-08 | 2024-10-17 | 3 | Not Tested | Not Tested | Not Tested | 800 | Not Tested | 627 | 4.32
| 2024-10-08 | 2024-10-17 | 2 | Not Tested | Not Tested | Not Tested | 700 | Not Tested | 503 | 5.59
| 2024-11-20 | 2024-12-02 | 3 | <5 | <0.1 | 106 | Not Tested | 7.4 | Not Tested | Not Tested
| 2024-11-20 | 2024-12-02 | 2 | <5 | <0.1 | 169 | Not Tested | 7.4 | Not Tested | Not Tested
Comments: October 2024 - The third party laboratory contractor mistakenly performed an incomplete analysis so additional samples had to be taken in November 2024. Sample points 20 and 21 are not accessible currently due to earthmoving works by a third party contractor.

## BHLWC GW Monitoring Data
Altogether Operations Pty Ltd Level 1, 73 Miller Street, North Sydney NSW 2060 PO Box 1831, North Sydney NSW 2059 Phone: 1300 803 803 Website:https://altogethergroup.com.au/contact-us/
| Environmental Protection License Number | 20843
| Licensee Name | ALTOGETHER OPERATIONS PTY LTD
| Premises Address | BOX HILL WASTEWATER AND WATER RECYCLING SCHEME BOX HILL NSW 2765 RED GABLES ROAD
| EPA Public Register | https://www.epa.nsw.gov.au/licensing-and-regulation/public-registers
| EPA Identification No. | 6, 7, 8, 9, 10, 11, 17, 20
| Location Description | Groundwater quality monitoring. Irrigation area, Various
|  |  | Pollutant | Aluminium | Bicarbonate | Calcium | Chloride | Electrical Conductivity | Iron | Magnesium | Nitrate | Nitrogen (Total) | pH | Phosphorous (Total) | Sodium | Sodium Adsorption Ratio
|  |  | Unit of Measure | milligrams per litre | milligrams per litre as CaCO3 | milligrams per litre | milligrams per litre | µS/cm | milligrams per litre | milligrams per litre | milligrams per litre | milligrams per litre | pH units | milligrams per litre | milligrams per litre | -
|  |  | Sample Frequency | Yearly | Yearly | Yearly | Yearly | Yearly | Yearly | Yearly | Yearly | Yearly | Yearly | Yearly | Yearly | Yearly
|  |  | Reporting Period | 12 Months | 12 Months | 12 Months | 12 Months | 12 Months | 12 Months | 12 Months | 12 Months | 12 Months | 12 Months | 12 Months | 12 Months | 12 Months
|  | Limits Apply Annually | 50 Percentile Concentration Limit | None | None | None | None | None | None | None | None | None | None | None | None | None
|  |  | 80 Percentile Concentration Limit | None | None | None | None | None | None | None | None | None | None | None | None | None
|  |  | 3 Day Geometric Mean | None | None | None | None | None | None | None | None | None | None | None | None | None
|  |  | 100 Percentile Concentration Limit | None | None | None | None | None | None | None | None | None | None | None | None | None
Reporting Year | Date Sample | Date Obtained | EPA Identification No. | Aluminium | Bicarbonate | Calcium | Chloride | Electrical Conductivity | Iron | Magnesium | Nitrate | Nitrogen (Total) | pH | Phosphorous (Total) | Sodium | Sodium Adsorption Ratio
2022-2023 | 2022-10-26 | 2022-11-02 | 6 | 1 | 180 | 39 | Not Tested | 790 | 2.2 | 22 | <0.02 | 0.9 | 8.2 | 0.14 | 100 | 3.3
| 2022-10-26 | 2022-11-02 | 7 | 0.81 | 160 | 29 | Not Tested | 570 | 1.9 | 14 | <0.02 | 1.2 | 7.7 | 0.12 | 68 | 2.6
| 2022-10-26 | 2022-11-02 | 8 | 1.2 | 93 | 23 | Not Tested | 330 | 3.1 | 7.8 | 0.11 | 1.61 | 7.6 | 0.13 | 39 | 1.8
| 2022-10-26 | 2022-11-02 | 9 | 39 | 920 | 27 | Not Tested | 380 | 110 | 14 | <0.02 | 21 | 6.3 | 7.3 | 53 | 2
| 2022-10-26 | 2022-11-02 | 10 | 36 | 42 | 25 | Not Tested | 400 | 110 | 14 | <0.02 | 2.6 | 6 | 4.9 | 58 | 2.3
| 2022-10-26 | 2022-11-02 | 11 | 52 | 42 | 34 | Not Tested | 400 | 190 | 17 | <0.25 | 64 | 5.8 | 0.26 | 56 | 2
| 2022-10-04 | 2022-10-11 | 17 | 120 | 76 | 15 | 11 | 200 | 100 | 8.7 | <0.02 | 9.2 | 6.2 | 2 | 41 | 2.1
| 2022-10-04 | 2022-10-11 | 18 | 230 | 100 | 6.4 | 30 | 610 | 420 | 5.5 | <0.02 | 6.7 | 6.7 | 1.4 | 13 | 0.9
| 2023-02-27 | 2023-02-27 | 6 | Not Tested | Not Tested | Not Tested | Dry | Not Tested | Not Tested | Not Tested | Not Tested | Not Tested | Not Tested | Not Tested | Not Tested | Not Tested
| 2023-02-27 | 2023-02-27 | 7 | Not Tested | Not Tested | Not Tested | Dry | Not Tested | Not Tested | Not Tested | Not Tested | Not Tested | Not Tested | Not Tested | Not Tested | Not Tested
| 2023-02-27 | 2023-02-27 | 8 | Not Tested | Not Tested | Not Tested | Dry | Not Tested | Not Tested | Not Tested | Not Tested | Not Tested | Not Tested | Not Tested | Not Tested | Not Tested
| 2023-02-27 | 2023-02-27 | 9 | Not Tested | Not Tested | Not Tested | Dry | Not Tested | Not Tested | Not Tested | Not Tested | Not Tested | Not Tested | Not Tested | Not Tested | Not Tested
| 2023-02-27 | 2023-02-27 | 10 | Not Tested | Not Tested | Not Tested | Dry | Not Tested | Not Tested | Not Tested | Not Tested | Not Tested | Not Tested | Not Tested | Not Tested | Not Tested
| 2023-02-27 | 2023-02-27 | 11 | Not Tested | Not Tested | Not Tested | Dry | Not Tested | Not Tested | Not Tested | Not Tested | Not Tested | Not Tested | Not Tested | Not Tested | Not Tested
Comments: Sub-contracting laboratory prematurely disposed of groundwater samples from October 2022 before chloride measurements could be taken. Resampling undertaken in February 2023. No groundwater present. Groundwater bore not installed at EPA Identification No. 19. EPA notified of change to monitoring locations.
2023-2024 | 2023-10-09 | 2023-10-16 | 6 | Dry | Dry | Dry | Dry | Dry | Dry | Dry | Dry | Dry | Dry | Dry | Dry | Dry
| 2023-10-09 | 2023-10-16 | 8 | Dry | Dry | Dry | Dry | Dry | Dry | Dry | Dry | Dry | Dry | Dry | Dry | Dry
| 2023-10-09 | 2023-10-16 | 17 | Dry | Dry | Dry | Dry | Dry | Dry | Dry | Dry | Dry | Dry | Dry | Dry | Dry
| 2023-10-09 | 2023-10-16 | 18 | Dry | Dry | Dry | Dry | Dry | Dry | Dry | Dry | Dry | Dry | Dry | Dry | Dry
Comments: October 2023 - All sample points were dry. No groundwater was present
2024-2025 | 2024-10-08 | 2024-10-17 | 6 | Dry | Dry | Dry | Dry | Dry | Dry | Dry | Dry | Dry | Dry | Dry | Dry | Dry
| 2024-10-08 | 2024-10-17 | 8 | Dry | Dry | Dry | Dry | Dry | Dry | Dry | Dry | Dry | Dry | Dry | Dry | Dry
Comments: October 2024 - All sample points were dry. No groundwater was present. Sample points 17 and 18 are not accessible currently due to earthmoving works by a third party contractor.

## BHLWC SWL Data
Altogether Operations Pty Ltd Level 1, 73 Miller Street, North Sydney NSW 2060 PO Box 1831, North Sydney NSW 2059 Phone: 1300 803 803 Website:https://altogethergroup.com.au/contact-us/
| Environmental Protection License Number | 20843
| Licensee Name | ALTOGETHER OPERATIONS PTY LTD
| Premises Address | BOX HILL WASTEWATER AND WATER RECYCLING SCHEME BOX HILL NSW 2765 RED GABLES ROAD
| EPA Public Register | https://www.epa.nsw.gov.au/licensing-and-regulation/public-registers
| EPA Identification No. | 6, 8, 17, 18
| Location Description | Standing Water Level. Irrigation areas, Various
|  |  | Parameter | Standing Water Level | Northings | Eastings
|  |  | Units | m AHD
Reporting Year | Date Sample | Date Obtained | EPA Identification No.
2022-2023 | 2023-06-29 | 2023-07-03 | 6 | Dry | 6276999.427 | 305989.5344
| 2023-06-29 | 2023-07-03 | 8 | 33.2984 | 6277121.881 | 306107.5114
| 2023-06-29 | 2023-07-03 | 18 | 30.3446 | 6278027.844 | 306598.137
| 2023-06-29 | 2023-07-03 | 17 | 26.4814 | 6278216.969 | 306699.6731
Comments: Standing water levels measured from the bores installed in Designated Irrigation Zones C and G Groundwater bore not installed at EPA Identification No. 7 and 19. EPA notified of change to monitoring locations.
2023-2024 | 2024-06-18 | 2024-06-19 | 6 | 34.571 | 6276999.427 | 305989.5344
| 2024-06-18 | 2024-06-19 | 8 | 34.603 | 6277121.881 | 306107.5114
| 2024-06-18 | 2024-06-19 | 18 | 29.848 | 6278027.844 | 306598.137
| 2024-06-18 | 2024-06-19 | 17 | 26.206 | 6278216.969 | 306699.6731
Comments:

## BHLWC Site Map
Altogether Operations Pty Ltd Level 1, 73 Miller Street, North Sydney NSW 2060 PO Box 1831, North Sydney NSW 2059 Phone: 1300 803 803 Website:https://altogethergroup.com.au/contact-us/
Environmental Protection License Number | 20843
Licensee Name | ALTOGETHER OPERATIONS PTY LTD
Premises Address | BOX HILL WASTEWATER AND WATER RECYCLING SCHEME BOX HILL NSW 2765 RED GABLES ROAD
EPA Public Register | https://www.epa.nsw.gov.au/licensing-and-regulation/public-registers
EPA Identification No. | 1
Location Description | Recycled water quality monitoring at Local Water Centre located in the recycled water pump shed prior to discharge to irrigation areas (Precinct C at Lot 203 DP 1256554 and Precinct F at Lot 29 DP 255616)
EPA Identification No. | 2
Location Description | Soil quality monitoring. Irrigation area, Precinct C
EPA Identification No. | 6
Location Description | Groundwater quality monitoring. Irrigation area, Precinct C
EPA Identification No. | 3
Location Description | Soil quality monitoring. Irrigation area, Precinct C
EPA Identification No. | 7
Location Description | Groundwater quality monitoring. Irrigation area, Precinct C
EPA Identification No. | 8
Location Description | Groundwater quality monitoring. Irrigation area, Precinct C
EPA Identification No. | 12
Location Description | Flow Meter at the connection point to Precinct C irrigation area, to monitor volume to Precinct C irrigation area
EPA Identification No. | 13
Location Description | Flow Meter at the connection point to Precinct C irrigation area, to monitor volume to Precinct F irrigation area
EPA Identification No. | 4
Location Description | Soil quality monitoring. Irrigation area, Precinct F
EPA Identification No. | 9
Location Description | Groundwater quality monitoring. Irrigation area, Precinct F
EPA Identification No. | 5
Location Description | Soil quality monitoring. Irrigation area, Precinct F
EPA Identification No. | 10
Location Description | Groundwater quality monitoring. Irrigation area, Precinct F
EPA Identification No. | 11
Location Description | Groundwater quality monitoring. Irrigation area, Precinct F
EPA Identification No. | 18
Location Description | Groundwater quality monitoring. Irrigation area, Precinct G
EPA Identification No. | 20
Location Description | Soil quality monitoring. Irrigation area, Precinct G
EPA Identification No. | 19
Location Description | Groundwater quality monitoring. Irrigation area, Precinct G
EPA Identification No. | 21
Location Description | Soil quality monitoring. Irrigation area, Precinct G
EPA Identification No. | 17
Location Description | Groundwater quality monitoring. Irrigation area, Precinct G

## Correction Log
Altogether Operations Pty Ltd Level 1, 73 Miller Street, North Sydney NSW 2060 PO Box 1831, North Sydney NSW 2059 Phone: 1300 803 803 Website:https://altogethergroup.com.au/contact-us/
Environmental Protection License Number | 20843
Licensee Name | ALTOGETHER OPERATIONS PTY LTD
Premises Address | BOX HILL WASTEWATER AND WATER RECYCLING SCHEME BOX HILL NSW 2765 RED GABLES ROAD
EPA Public Register | https://www.epa.nsw.gov.au/licensing-and-regulation/public-registers
Date of Correction | Description of Correction
2023-02-22 | Due to a transcription error the total nitrogen for 30/01/23 was incorrectly reported as 7.1mg/L in January. Correct measurement was 8.1mg/L
2023-07-18 | In site map location 18 was incorrectly marked as soil sampling location. Corrected to groundwater
2023-07-18 | In site map location 19 was incorrectly marked as soil sampling location. Corrected to groundwater
2023-07-18 | In site map location 20 was incorrectly marked as groundwater sampling location. Corrected to soil
2023-07-18 | In site map location 7 was incorrectly marked as soil sampling location. Corrected to groundwater
2023-07-18 | In site map location 10 was incorrectly marked as soil sampling location. Corrected to groundwater
2024-08-06 | In groundwater monitoring data, a sample from 9/10/2023 was incorrectly identified as having been taken from monitoring point 7 when it was actually taken from monitoring point 8